## Configuration
FULL ANALYSIS
INSTRUCTIONS
Matlab reads the cells from this sheet to obtain parameters for the analysis of the
timelapse movie. Don't change the location of the cells (e.g. don't insert rows).
Matlab also reads their names, don't change those either!
LEGEND
Check this parameter carefully for dataset.
Check this parameter carefully from position to position.
Check this parameter, which relates to setup, carefully for dataset.
Important parameter for analysis, but not necessarily requires changing between dataset.
SETTINGS
movieDate | 2017-01-12_mothermachine_lacgluc | Generally, datasets are identified by the date on which data was taken. The folder with the data should also have this name.
setup | setup1 | Setup1 is the old microscope, Setup2 is the new microscope.
softwarePackage | metamorph | Setup1 uses "metamorph", setup2 uses "micromanager".
camera | hamamatsu | Currently, setup1 has a camera called "hamamatsu" (previously, before 2014/11 "coolsnap"), and setup2 has a camera called "hamamatsu2".
positionName | pos2 | Each dataset contains multiple movies of microcolonies, or positions, which are stored in different folders.
performCropping | 1
cropSuffix | crop | Don't edit. Gives suffix for cropping dir.
rootDir | G:\EXPERIMENTAL_DATA_2016\a_incoming\ | Root folder where data is stored. Add trailing slash.
frameRangePreliminary | [32:34:1460] | Frames to be taken into account for preliminary analysis.
frameRangeFull | [501:599] | Frames to be taken into account for full analysis.
fluor1 | c | Color of first fluorescent label (if not "none"), encoded by g, r, y, c.
fluor2 | y | Color of 2nd fluorescent label (if not "none"), encoded by g, r, y, c.
fluor3 | none | Color of 3rd fluorescent label (if not "none"), encoded by g, r, y, c.
cropLeftTop | [805 503] | Settings for cropping of original images. (lefttop=uneven, rightbottom=even values)
cropRightBottom | [1466 1188] | [] = no cropping.
PARAMETERS FOR SEGMENTATION |  | See PN_segmoviephase_3colors.m for more information
slices | [1 2 3] | In a typical experiment, there are pictures taken at multiple focal heights, this parameter should enumerate them.
rangeFiltSize | 35 | In pixels, the range over which contrast changes are considered.
maskMargin | 20 | In pixels the amount by which the area identified as colony is dilated (createing a margin to not cut of cells)
LoG_Smoothing | 2 | Sigma parameter for Laplacian of Guassian edge detection.
minCellArea | 250 | Areas with less pixels than this values are not considered cells.
GaussianFilter | 5 | Size and sigma of gaussian smoothing for segementation image.
minDepth | 5 | Minimal depth of local minima, used to identify cell centers.
neckDepth | 2 | Cell that have indentations above neckDepth are cut at these indentations.
PARAMETERS FOR ANALYSIS |  | These parameters relate to analysis that is done after lineage tree is created.
fitTimeMu | [0 1500] | Time window in which data is analyzed for global growth rate (mu) estimate.
fitTimeScatterHist | [0 1500] | ??Not used??
fitTimeCrosscorr | [0 1500] | Time window on which the cross correlation functions are based.
muWindow | [5, 9] | # phase images used for fitting of growth rate mu (needs to be odd number!)
badSchnitzes | [] | once analysis is complete, some schnitzes can display weird behavior (artefacts), list here schnitzes to be removed from analysis
autofluorescence | 0.94
fluorCorrectionImagePaths{1} | Correction_microscope1-encfp-20161021-500ms | Correction images for fluor color 1 (loaded from ./Fluor_correction_images/).
fluorCorrectionImagePaths{2} | Correction_microscope1-yfp-20161021-100ms | Correction images for fluor color 2 (loaded from ./Fluor_correction_images/).
fluorCorrectionImagePaths{3} |  | Correction images for fluor color 3 (loaded from ./Fluor_correction_images/).
fluorPointSpreadFunctionPath | PSF_090402_centered.mat | Point spread function used to correct image during deconvolution
PARAMETERS FOR MAKING AND ANALYZING BRANCHES AND SAVING DATA
myID | asc990_lacgluc_blocks | label that describes the dataset
myGroupID | asc990_lacgluc_blocks | label that describes group of measurements (useful for plotting)
ASCnumber | 0 | ID of the strain used for this experiment
filterset | cfpyfp | short label describing filter set
fluoName | cfpyfp | short label describing fluorescent protein used
myIllumTime | 150 | illumination time (only for reference, the actual time is extracted from the fluor images)
Correlation function field names |  | schnitzcells parameters on which cross correlations will be build (X will be automatically replaced by appropriate color)
timeFieldName | X_time | field that indicates times at which frames were taken
fluorFieldName | X6_mean_cycCor | field that indicates the average fluorescence signal in a (schnitz)cell
muFieldName | muP9_fitNew_cycCor | field that indicates the growth rate of a (schnitz)cell, values in this array corresponding to frames for which fluorFieldName parameter was determined
timeFieldNameDerivative | dX5_time | field that indicates the time at which frames were taken that correspond to frames for which absolute signal increase was determined
fluorDerivativeFieldName | dX5_cycCor | field that indicates the parameter which gives the derivative of the absolute fluorescence signal
muFieldNameDerivative | muP9_fitNew_atdX5_cycCor | as muFieldName, but frames in this array correspond to frames for which dX parameters are determined.
Misc. options
PLOTSCATTER | 0 | Determines whether delayed scatter plots are made during analysis
Advanced options
addSlowOnes | 1 | advanced option, default=1, removes ultra-slow schnitzes from analysis
alreadyRemovedInMatFile | 0 | advanced option, default=0, probably redundant
makeDtime | 0 | advanced option, default=0, recalculates schnitzcells.dX_time field

## Extra_information
List of current microscope correction images
Microscope 1
Correction_microscope1-yfp-20150527-20ms.mat
Correction_microscope1-encfp-20150527-45ms.mat
Correction_microscope1-engfp-20150527-20ms.mat
Correction_microscope1-mcherry-20150527-40ms.mat
Correction_microscope1-venus-20150527-20ms.mat
Microscope 2
…

## B20
0